# List of Diesses to be monitored

This comprehensive list focuses on chronic illnesses and congenital conditions diagnosed within the first 24 months of life. It is designed to be integrated into your "Clinical Profile" page as a multi-category dropdown system, allowing parents to provide the AI with the necessary context to calibrate vital sign alerts and health analysis.

1. Respiratory & Pulmonary Disorders

The mmWave Radar provides a non-contact "digital stethoscope" for respiratory monitoring, which is critical for these conditions.

- Bronchopulmonary Dysplasia (BPD): Helps monitor the irregular breathing patterns and chronic oxygen desaturation common in survivors of preterm birth.

- Congenital Central Hypoventilation Syndrome (CCHS): Vital for detecting life-threatening "shallow breathing" or apnea during sleep.

- Cystic Fibrosis (CF): Analysis of breathing rate spikes can indicate early-onset pulmonary exacerbations or mucus-related distress.

- Infantile Sleep Apnea: Real-time detection of cessation of breath (Obstructive or Central) with immediate buzzer/app alerts.

2. Cardiovascular (Congenital Heart Defects - CHD)

The radar's ability to pull raw heart rate (HR) values without skin irritation allows for long-term cardiac profiling.

- Septal Defects (VSD/ASD): Monitors for tachycardia (rapid heart rate) or heart failure indicators during rest.

- Tetralogy of Fallot: Tracks HR stability during "Tet spells" (episodes of cyanosis) to alert parents if the baby is in distress.

- Patent Ductus Arteriosus (PDA): Monitors for signs of high cardiac output or respiratory laboring.

- Arrhythmias (Bradycardia/Tachycardia): Automated detection of HR falling outside the age-calibrated safe zone.

3. Neurological & Thermoregulatory Disorders

The combination of Thermal Imaging and NTC Thermistor fusion monitors the baby's autonomic nervous system.

- Cerebral Palsy (CP): Uses MoveNet keypoints to track spasticity or lack of movement; also monitors for chronic hypothermia/cold stress due to poor muscle tone.

- Epilepsy & Infantile Spasms: Uses the radar’s "Body Movement Index" and camera to detect rhythmic seizure patterns or sudden "jackknife" spasms during sleep.

- Hydrocephalus: Monitors for autonomic instability (HR/RR fluctuations) and helps track head growth through computer vision.

- Neonatal Abstinence Syndrome (NAS): Detects hyper-irritability and excessive tremors through the high-frequency motion detection of the 60GHz radar.

4. Gastrointestinal, Hygiene & Skin Integrity

The Woven Electrodes and Heated Pads address hygiene and metabolic heat loss.

- Short Bowel Syndrome & Malabsorption: Frequent urination or diarrhea (detected via mattress impedance) helps track output—crucial for babies prone to dehydration.

- Pediatric HIV/AIDS: Constant monitoring of "Skin Temp Trends" via thermal imaging to detect "Low-grade Fevers" that might otherwise be missed.

- Eczema & Severe Diaper Rash: Urination detection ensures immediate hygiene changes, preventing the breakdown of sensitive skin.

- Hypothermia (Preterm/LBW): The 6-zone heated pads provide the 37°C thermoregulation required for infants who cannot maintain their own body heat.

Implementation for Stitch:

For each of these, the Profile Page should feature:

- Searchable Multi-Select Dropdown: Categorized by the headers above.

- Date of Diagnosis: To help the AI correlate historical vital trends.

- Severity Level: (Mild, Moderate, Severe/Critical).

- Care Instructions: A free-text field for "Doctor's Advice" that the AI can parse for customized alerts.

Harmful in the case of the following:

- Premature baby before skin hardening and people with physical bruises and open wounds.

- People with Pacemaker or any mechanical or electrical implants.

- Dryness of eyeballs if directly pointed and for long hours at a close range.